## sheet1
MDAD Warehouse for Informational Purposes
More Info | Descr | Min Qty | Max Qty
Cap Kit Vandal-Resistant Stop 3/4" Sloan H-1009-A | Cap Kit Vandal-Resistant Stop | 2 | 4
Closet ZURN top spud 3/4" (ADA Height) | Toilet ZURN top spud 3/4" (ADA | 2 | 4
FAUCET KITCHEN (DELTA #100-DST) | FAUCET KITCHEN (DELTA #100-DST | 2 | 4
Sink Lavatory 20"x18" ZURN Single Faucet Model # Z5361 | Sink Lavatory 20"x18" Single F | 2 | 4
Toilet ZURN floor mounted top spud 3/4" (Regular Height) Zurn Z5655 | Toilet ZURN floor mounted top | 2 | 4
Toilet ZURN wall mounted rear spud 3/4" Zurn Z5617 | Toilet ZURN wall mounted rear | 2 | 4
Toilet ZURN wall mounted top spud 3/4" Zurn Z5615 BWL | Toilet ZURN wall mounted top s | 2 | 4
Uriinal ZURN rear spud 3/4" Zurn Z5765 | Urinal ZURN rear spud 3/4" | 2 | 4
URINAL K-4989-T KOHLER | URINAL K-4989-T KOHLER | 2 | 4
Urinal ZURN Back spud 3/4" (HEU) Zurn # Z5759 (no Substitutes) | Urinal ZURN Back spud 3/4" (HE | 2 | 4
Urinal Zurn Ecovantage top spud ZURN # Z5758-U | Urinal Zurn Ecovantage top spu | 2 | 4
Urinal Zurn Omni-Flo top spud Model # Z5755-U | Urinal Zurn Omni-Flo top spud | 2 | 4
WASHER SET SLOAN A-156-AA | WASHER SET A-156-AA (SLOAN) | 2 | 4
Control Stop Repair Kit Sloan H-541-ASD | Control Stop Repair Kit Sloan | 3 | 6
DOBULE TOIL/TISS DISPENSER WALL MT. BOBRICK B2740 | DISPENSER TOIL/TISS DBL BOBRIC | 3 | 6
Sink lavatory 20" x 18" square wall hung 4" center Zurn Z5314-BA | Sink lavatory 20" x 18" square | 3 | 6
Sink lavatory square Kingston Kohler 2007-L-0, wall mount ADA. 2 hole | Sink lavatory square | 3 | 6
WALLHUNG TOILET BOWL/REAR SPUD KOHLER (ONLY) K-84323 | TOILET KOLHER WALLHUNG BOWL/RE | 3 | 6
Water Heater, Chronomite R series 1.8 gallon/min #R-48L/277Q | Water Heater, Chronomite R ser | 3 | 6
SLOAN HANDICAP SPOUT ETF-261A for the ETF-770 | SPOUT ETF-261A HDCP. "SLOAN" | 4 | 8
SLOAN REG. SPOUT ETF-195A for the ETF-660 | SPOUT ETF-195A REG. "SLOAN" | 4 | 8
TOILET WALL HUNG CLOSET FIXTURE TOP SPUD (WHITE) KOHLER # K-4325-0 | TOILET KOLHER WALL HUNG ELONGA | 4 | 8
TOILET WALLHUNG TOP SPUD AM STD # 2257101.020 | TOILET WALLHUNG TOP SPUD AM ST | 4 | 6
TOILET WALLHUNG/REAR SPUD AM STD AFWALL BOWL EL WHITE 3353.101.020 MUST BE AMERICAN STANDARD | TOILET WALLHUNG/REAR SPUD AM S | 4 | 6
Urinal Amer. Std. rear spud # 6515.001 | Urinal Amer. Std. rear spud # | 4 | 6
URINAL AMERICAN STANDARD 6561.017 TRIMBROOK # 55040 | URINAL AMERICAN STANDARD #6561 | 4 | 8
ASSEMBLY VACUUM BREAKER CLOSET 1-1/2"X9 SLOAN V500AA FLUSHOMETER CONNECTION | VACUUM BREAKER ASSY CLOSET 1-1 | 5 | 10
ASSEMBLY VACUUM BREAKER URINAL 3/4"X 9" V-500-AA SLOAN FLUSHOMETER CONNECTION | VACUUM BREAKER ASSY URINAL 3/4 | 5 | 10
B4388 BOBRICK TOIL/TIS/DBL DISPENSER | DISPENSER TOIL/TIS/DBL BOBRICK | 5 | 10
Bonnet Nut AS 904939-0020A | Bonnet Nut AS 904939-0020A | 5 | 10
Cap Kit Vandal-Resistant Stop 1" Sloan H-1010-A | Cap Kit Vandal-Resistant Stop | 5 | 10
FAUCET SERVICE AMERICAN STANDARD 8354112002 | FAUCET SERVICE AMERICAN STANDA | 5 | 10
FAUCET SINGLE HANDLE, SINGLE HOLE MOUNT BASIN Delta # 570LF-WFHDF OR APPROVED EQUAL | FAUCET SINGLE BASIN 570LF-WFHD | 5 | 10
Faucet Valve Cartridge AS 951764-0070A | Faucet Valve Cartridge AS 9517 | 5 | 10
Faucet, BATTERY PACK Sloan EFX-8-A | Faucet, BATTERY PACK Sloan EFX | 5 | 10
Faucet, BELOW DECK THERMOSTATIC, SLOAN EFP100A | Faucet, BELOW DECK THERMOSTATI | 5 | 10
Faucet, MIXING VALVE SINGLE INLET, SLOAN EFP99A | Faucet, MIXING VALVE SINGLE IN | 5 | 10
Faucet, REPLCEMENT FILTER AND O RING, SLOAN EFP101A | Faucet, REPLCEMENT FILTER AND | 5 | 10
Faucet, SENSOR CONTROL BOX Sloan EFP10A | Faucet, SENSOR CONTROL BOX Slo | 5 | 10
Faucet, Sloan sensor activated EBF-615-4 | Faucet, Sloan sensor activated | 5 | 10
Faucet, SOLENOID CADDY, SLOAN EFP103A | Faucet, SOLENOID CADDY, SLOAN | 5 | 10
Faucet, SPOUT HOSE 24" SLOAN EFP25 | Faucet, SPOUT HOSE 24" SLOAN E | 5 | 10
FLUSH SLEEVE ASSM., SINGLE, Sloan EV-570-A | FLUSH SLEEVE ASSM., SINGLE, EV | 5 | 10
GASKET RUBBER WALL HUNG CLOSET Jones Stephens G13534 | GASKET RUBBER WALL HUNG CLOSET | 5 | 10
Gasket, service sink AS M911631-0070A | Gasket, service sink AS M91163 | 5 | 10
HAND DRYER BOBRICK B750, white 110v-120v | HAND DRYER BOBRICK B750 | 5 | 10
HAND DRYER DYSON V-AB12, Stainless Steel, 110v-120v | HAND DRYER DYSON V-AB12 | 5 | 10
HANDLE ASSEMBLY SLOAN B32A | HANDLE ASSEMBLY SLOAN B32A | 5 | 10
KIT REPAIR 3/4" SCR/DR SLOAN H-543-AA | KIT REPAIR 3/4" SCR/DR H-543-A | 5 | 10
Lever handle AS 051210-002A | Lever handle AS 051210-002A | 5 | 10
Repair kit Hydrant Zurn # Z1330-c | Repair kit Hydrant Zurn # Z133 | 5 | 10
Sensor 3/4" Urinal Operated Battery Powered Flush Valve Part # ZER6003AV-EWS-CPM | Sensor 3/4" Urinal Operated Ba | 5 | 10
Sensor Operated Battery Powered Flush Valve Part # ZER6000AV-HET-CPM | Sensor Operated Battery Powere | 5 | 10
Sensor Single Flush battery powered SLOAN EBV-500-A | Sensor Single Flush battery po | 5 | 10
Sensor Sloan EAF-6-A (Adapter Powered) | Sensor Sloan EAF-6-A (Adapter | 5 | 10
SLOAN FLUSHOMETER COIL 24/60 EL-165-2 | SOLENOID FLUSHOMETER 24/60 (EL | 5 | 10
TOILET REPAIR KIT FLUIDMASTER ALL IN ONE MODEL # 400AKR | TOILET REPAIR KIT FLUIDMASTER | 5 | 10
TRAP "P" 1 1/4" CHROME | TRAP "P" 1 1/4" CHROME | 5 | 10
TRAP SEAL PRIMER SLOAN F-72A1 1 1/2" | TRAP PRIMER SEAL 1-1/2" SLOAN | 5 | 10
VACUM BREAKER,FOR HOSE BIBBS, 3/4" RB. | BREAKER VACUUM HOSE BIBBS 3/4" | 5 | 10
Vacuum Breaker kit AS M962952-002A | Vacuum Breaker kit AS M962952- | 5 | 10
Valve Flush Zurn Urinal 3/4" Z6003PL-EWS | Valve Flush Zurn Urinal 3/4" Z | 5 | 10
FAUCET E12 2.2 GPM SOFTFLO AERATOR 665 P/N 807-E12-665PSHCP | FAUCET E12 2.2 GPM SOFTFLO AER | 6 | 12
Sink Drain Grid Offset Lavatory Chrome Plated Model # KEE5700PC | Sink Drain Grid Offset Lavator | 6 | 12
Sink Drain Strainer Kitchen Chrome Plated Model # PF250BRCP | Sink Drain Strainer Kitchen Ch | 6 | 12
VALVE FLUSH ROYAL SLOAN # 186-1XL Product # 3082675 | VALVE FLUSH ROYAL SLOAN # 186 | 6 | 12
BOTTLE SOAP 34 OZ. BOBRICK P/N 822-95 | BOTTLE SOAP 34 OZ. BOBRICK | 10 | 20
Closet Sensor Valve Optima Sloan EL1500L | Sensor Operated Battery Powere | 10 | 20
DISPENSER SAITARY NAPKINS BOBRICK # B4354 | DISPENSER SAITARY NAPKINS B435 | 10 | 20
Drain Lavatory Chrome Plated Grid 1-1/4" X 6" Keeney Model # KEE5680PC | Drain Lavatory Chrome Plated G | 10 | 20
Gasket, Conical Sponge for Urinals Mfg. # 034638-0070A | Gasket, Conical Sponge for Uri | 10 | 20
KIT REPAIR HANDLE SLOAN B-50-A XPOSED | KIT REPAIR HANDLE B-50-A XPO ( | 10 | 20
TRAP "P" 1 1/2 X CAST ELL LESS CO | TRAP "P" 1 1/2 X CAST ELL LESS | 10 | 20
Urinal Sensor Valve Optima Sloan EL1500 | Urinal Sensor Valve Optima Slo | 10 | 20
Urinal Strainer, Chrome, Amer. Std. Mfg. # 047068-0070A | Urinal Strainer, Chrome, Amer. | 10 | 20
VACUUM BREAKER SLOAN V-500-A CP | VACUUM BREAKER ASSEMBLY V-500- | 10 | 20
Sensor Easy Flush (Zurn) battery powered ZERK-CPM | Sensor Easy Flush battery powe | 12 | 24
VALVE EXPOSED TYPE FLUSHMETER FOR FLOOR MOUNTED OR WALL HUNG BOWLS 110/3.5 GAL | VALVE FLUSH ROYAL SLOAN 110/3. | 12 | 24
DISPENSER TOILET SEATCOVER Bobrick B-4221 | DISPENSER TOILET SEATCOVER Bob | 15 | 30
DISPENSER, TOILET TISSSUE SINGLE ROLL BOBRICK B-2890 | DISPENSER, TOILET TISSSUE SING | 15 | 30
SEAT TOILET ELONGATED BLACK OPEN FRONT BEMIS 1955SSCT | SEAT TOILET ELONGATED BLACK OP | 15 | 30
SOLENOID SLOAN OPTIMA EAF-2 FAUCET P/N # 0335001 | SOLENOID SLOAN OPTIMA EAF-2 F | 15 | 30
DISPOSAL NAPKINS SANITARY B-270 BOBRICK | DISPOSAL SANITARY NAPKIN B270 | 20 | 30
O-Ring Sloan H-553 Pack of 24 | O-Ring Sloan H-553 | 24 | 48
KIT REPAIR VACUUM BREAKER V-551-A SLOAN Part # 101338 | VACUUM BREAKER KIT REPAIR V-5 | 25 | 50
KIT REPAIR, METERING CARTRIDGE/ACTUATOR CHIC F. 667-080KJK (665190KJK + 671XJK) | KIT REPAIR METER CART + ACTUA | 25 | 50
PUMP FOR SOAP DISPENSER B-822 BOBRICK 822-619 | DISPENSER SOAP PUMP ONLY 822-6 | 25 | 50
SEAT TOILET ELONGATED WHITE OPEN FRONT LESS COVER Bemis # 1955SSC 000 | SEAT TOILET ELONGATED WHITE OP | 25 | 50
BATTERY EAF-1000 ( 2CR5) 6V | BATTERY FOR OPTIMA EAF-3A 6V | 30 | 60
DISPENSER/SOAP DECK MOUNT # B-822 Bobrick DECK MOUNTED | DISPENSER/SOAP DECK MOUNT # B- | 30 | 60
CONTROLLER FAUCET SLOAN OPTIMA EAF-150 Battery Powered, single supply Product Code #3335000 | FAUCET SLOAN OPTIMA EAF-150 Ba | 35 | 70
COVER FAUCET HOLE 2" POLISHED S/S | COVER FAUCET HOLE 2" POLISHED | 40 | 80
DISPENSER TOILET TISSUE SURF MT #B2888 | DISPENSER TOIL/TIS/DBL BOBRICK | 40 | 80
SENSOR SLOAN EAF-3-A (BATTERY POWERED) | Sensor Sloan EAF-3-A (Battery | 40 | 80
DISPENSER PAPER TOWEL KIMBERLY CLARK # 09991 WHITE | DISPENSER PAPER TOWEL KIMBERLY | 50 | 70
DISPENSER/SOAP DECK MOUNT Sloan ESD-600-CP Chrome plated finish | DISPENSER/SOAP DECK MOUNT Sloa | 50 | 100
DISPENSER/SOAP WALL MOUNT B-40 Bobrick | DISPENSER/SOAP WALL MOUNT B-40 | 50 | 100
Inside Cover Sloan A-71 | Inside Cover Sloan A-71 | 50 | 100
KIT REPAIR FOR CLOSET FLUSHOMETER A-36-ASLOAN ROYAL | KIT REPAIR FLUSH/CLOSET A-36-A | 50 | 100
KIT REPAIR URINAL ROYAL SLOAN A-37-A | KIT REPAIR URINAL SLOAN A-37-A | 50 | 100
Pressure Vacuum Breaker Repair Kit Sloan V-651-A High Back | Pressure Vacuum Breaker Repair | 50 | 100
TOILET SEATCOVER DISPENSER 2 PER BOX BOBRICK # B-221 | DISPENSER TOILET SEATCOVER (2 | 50 | 100